Tuolumne Fire District

18690 Main Street

Tuolumne, CA 95379

February 2026 Department Report

- February 4th Annual service for all fire extinguishers done by Cisco Fire Sprinklers Inc.

- February 4th Ordered 25 free heat sensor stickers and labels for fire ladders from Duo Safety.

- February 6th On Duty crew participated in a County MCI EMS drill including E-811 in the Tuolumne area.

- February 19th Extra staffing with low snow and storm conditions.

- February 20th Ladder maintenance and heat sensors/labels as necessary.

- February 22nd On duty crew did medical standby for Donkey Basketball at Memorial Hall for Jubilee.

- February 23rd Attended Chief’s meeting with County OES, TUD regarding water delivery issue in the County.

- February 26th Purchased and installed 3 new Group 31 batteries in E-733.

- February 26th TPMS repair on 730 done at Doherty Tire.

- February 27th Attended another Chief’s meeting regarding water issue with County OES, TUD.

- February 28th Monthly station safety inspection done.

Please contact me with any questions or concerns.

Respectfully,

Jeff Santi

Fire Chief